Excelsior V6 Wallmount Touchpanel 18,5 inch

| Technical Specifications |  |
| --- | --- |
| Hardware | - CPU: Intel Core i5 8265U - Main memory: 8 GB RAM - Hard disk storage: 120 GB SSD - Power supply: 24V / 3,8A DIN rail mount |
| Interface | - USB Port: 4xUSB 3.0, 2xUSB 2.0 - LAN Port : 2xRJ45 LAN Gigabit - Video Port: 1xHDMI, 1xDP - Audio Port: 1x Line-out |
| Display | - Size: 15 inch screen diagonal - Resolution: 1920 x 1080 pixels (Full HD) - Aspect ratio: 16 : 9 - Touch: projected capacitive touch (PCT / PCAP) - Frame color: black / white |
| Audio | - Speakers: 2 x integrated speakers (5 W each) - Mikrophone: integrated microphone (for noise cancelling: Voice Performance brick) |
| Measurements | - Display size: 230 mm x 410 mm (H x W) - Total size: 313 x 493 x 52 mm (H x W x D) - Gewicht: 3,5 kg |

| Software |  |
| --- | --- |
| Operating system | - Windows 10 IoT Enterprise 2019 LTSC |
| Additional software | ☐ BasisModul (HC-Navigation + HC-Camviewer) ☐ RadioModul ☐ HC-SipPhone ☐ HC-Browser ☐ HC-PictureViewer ☐ TV-Modul |

| Zubehör |  |
| --- | --- |
| Necessary | - Wallbox - Flushmount wallbox |
| Optional | ☐ Presence detector brick ☐ Voice Performance brick ☐ Camera brick (5 mega pixel) ☐ Backup & Recovery USB Stick 64 GB |

Serial number:Klicken Sie hier, um Text einzugeben.