Excelsior V6 Wallmount Touchpanel 15 inch

| Technical Specifications |  |
| --- | --- |
| Hardware | - CPU: Intel Core i5 8265U - Main memory: 16 GB RAM - Hard disk storage: 240 GB SSD - Power supply: 24V / 3,8A DIN rail mount |
| Interface | - USB port: 4xUSB 3.1, 1xUSB3.1 Type-C - LAN port : 2xRJ45 LAN Gigabit - Video port: 1xHDMI, 1xDP - Audio port: 1x Line-out |
| Display | - Size: 15 inch screen diagonal - Resolution: 1024 x 768 pixels (XGA) - Aspect ratio: 4 : 3 - Touch: projected capacitive touchscreen (PCT / PCAP) - Frame color: black / white |
| Audio | - Speakers: 2 x integrated speakers (5 W each) - Mircophone: integrated microphone (for noise cancelling: Voice Performance brick) |
| Measurements | - Display size: 229 mm x 305 mm (H x W) - Total size: 311 x 387 x 52 mm (H x W x D) - Weight: 3,5 kg |

| Software |  |
| --- | --- |
| Operating system | - Windows 10 IoT Enterprise 2019 LTSC |
| Additional software | ☐ BasisModul (HC-Navigation + HC-Camviewer) ☐ RadioModul ☐ HC-SipPhone ☐ HC-Browser ☐ HC-PictureViewer ☐ TV-Modul |

| Zubehör |  |
| --- | --- |
| Necessary | - Wallbox - Flush mount wallbox |
| Optional | ☐ Presence detector brick ☐ Voice Performance brick ☐ Camera brick (5 mega pixel) ☐ Backup & Recovery USB Stick 64 GB |

Serial number:Klicken Sie hier, um Text einzugeben.