Levior In-Wall Touchpanel 18,5 inch

| Technical Specifications |  |
| --- | --- |
| Hardware | - CPU: Intel J3455 Quad Core - Main memory: 8 GB RAM - Hard disk storage: 120 GB SSD - Power supply: 15V / 4A DIN rail mount |
| Interface | - USB port: 4xUSB 3.0 - LAN port : 2xRJ45 LAN Gigabit - Video port: 2xHDMI - Audio port: 1x Line-out |
| Display | - Size: 18,5 inch screen diagonal - Resolution: 1920 x 1080 pixels (Full HD) - Aspect ratio: 16 : 9 - Touch: projected capacitive touchscreen (PCT / PCAP) - Frame color: black / white |
| Measurements | - Display size: 230 mm x 410 mm (H x W) - Total size: 313 x 493 x 75 mm (H x W x D) - Weight: 3,5 kg |

| Software |  |
| --- | --- |
| Operating system | - Windows 10 IoT Enterprise 2019 LTSC |
| Additional software | ☐ BasisModul (HC-Navigation + HC-Camviewer) ☐ HC-Browser ☐ HC-PictureViewer |

| Additional equipment |  |
| --- | --- |
| Necessary | - Wallbox - Flush mount wallbox |
| Optional | ☐ Presence detector brick ☐ Camera brick (5 mega pixel) ☐ Backup & Recovery USB Stick 64 GB |

Serial number:Klicken Sie hier, um Text einzugeben.